

ASSA ABLOY

DL6220T teledock

2023-05

Tender Specification Text

ASSA ABLOY DL6220T teledock

Product description

Stationary dock leveler with telescopic lip with

· Integrated frame with wall anchors (T-frames)

· Electro-hydraulic operation with two lifting cylinders

· Steel grade all steel parts S355

· One hydraulic cylinder for infinitely-adjustable extension of steel lip

· Automatic, free floating position

· Three-button switch with standard main switch, incl. contact to lock door / leveler

· Hold-to-run button to lift platform

· Hold-to-run button to position the lip on the truck bed

· Impulse auto button to put leveler back in parking position

· Hydraulic emergency stop in any operating position

· Automatic mechanical locking in neutral position

· Lateral torsion flexibility

· Side plates (toe guards) with warning signs both above and below dock level

· Internal wiring, plug connection

· Power supply by others

· Control Unit Protection Class IP54

· The dock leveler meets standard demands of most loading operations and fully complies with rules and regulations of the European Standard EN 1398

Dimensions

	Dimensions
	Vertical working range

	NL
	LH
	Measures
	500 mm
	1000 mm
	ERGO

	2000


	600
	A
	440
	530
	400

	
	
	B
	400
	470
	370

	2500


	600
	A
	450
	530
	420

	
	
	B
	380
	430
	350

	3000


	600
	A
	430
	490
	400

	
	
	B
	360
	410
	340


Nominal width (NW) 2000, 2200, 2250 mm for all sizes.

** In accordance with the EN 1398 standard, the leveler must not be used beyond the permissible gradient range of ± 12.5% (around ± 7°). The limits may only be exceeded if the operator ensures that the danger of slipping has been eliminated (e.g. due to dry and clean surfaces).

Surface

· Surface painted in standard color RAL 5010, thickness 80 µm

Lip bearing

· Reinforced steel tear plate lip

· 500 mm telescopic lip

· 1000 mm telescopic lip

· 80 mm beveled lip

Hydraulics

· Standard oil for temperature range -15°C - +60°C

Control unit

· Voltage 400V 3-phase, 230V 3-phase, cable harness length 7m

· Display of error messages

· Service interval display

· About function / Memory function

· Impulse auto button to put the leveler back in parking position

Options

Surface
· Surface painted in RAL 5010, RAL 9005, RAL 6005, RAL 3002, thickness 80 µm

· Surface painted with coat thickness 160 µm

· Surface hot-dipped galvanised

Frame*
· T-Frame (leveler directly embedded in concrete)

· W-Frame (welded to pre-cast frame)

· F-Frame (flat bar frame welded to existing frame or for replacement)

· B-Frame (box frame, for positioning dock leveler and subsequent setting in concrete)

· P-Frame (pit frame with support from under (made by others), up to NL=3000mm)

Hydraulics
· Low temperature oil for temperature range -30°C - +60°C

Bridge bearing
· Lip in aluminium

· Lip with oblique section 100mm

· Lip with retracting tongues in steel, 1 per side (140mm)

· Lip 1000 mm

Energy & Ergonomics
· EPDM seal

· Slip protection and noise reduction coating

· Front cover curtain PVC (up to nominal length of 3000 mm)

Multifunctional docking control for direct control of dock leveler, dock shelter and door with just one control unit
· Operating dock leveler and door

· Operating dock leveler dock shelter and door

· Operating dock leveler and dock shelter

Control unit
· Request parking position

· Voltage 400V 3-phase, 230V 3-phase

· Cable harness extension

· External EMERGENCY STOP button

Application description ISO loading system
· In closed position, the dock leveler is very well sealed off from below, preventing cold or hot air access.

· Only available with lip length 1000 mm

· With insulated panels mounted into the pit underneath the dock leveler

· The thickness of the panels is available in 42 or 82 mm.

Options of the ISO loading system (only with lip length 1000 mm)
· T-Frame for ISO loading system

· Panels for ISO loading system in thickness 42 mm

· Panels for ISO loading system in thickness 82 mm

*Please note that not all options are currently available, please contact your local sales representative for further information.


